## Slide 1: OpenPMU Technology Platform for Synchrophasor Research Applications
Or how I learned to stop worrying and love IEEE C37.118.1-2011

## Slide 2: Why build an Open Source PMU?
Or why not use one of the many commercial PMUs on the market….

## Slide 3: Why build an Open Source PMU?
Or why not use one of the many commercial PMUs on the market….

## Slide 4: Why build an Open Source PMU?
Or why not use one of the many commercial PMUs on the market….

## Slide 5: Why build an Open Source PMU?
Or why not use one of the many commercial PMUs on the market….

## Slide 6: Why build an Open Source PMU?
V1

## Slide 7: Why build an Open Source PMU?
V2

## Slide 8: How does it work?
Measurement
Phase Estimation
Telecoms
Voltages Currents
IEEE C37.118.2 Synchrophasor
Transient Detection
Local Storage

## Slide 9: How does it work?

## Slide 10: How does it work?

## Slide 11: How does it work?

## Slide 12: How well does it work?

## Slide 13: How well does it work?

## Slide 14: How well does it work?

## Slide 15: How well does it work?

## Slide 16: What use is it?
4
7
5x Orkney, 2x Shetland
1x Tealing
1x Manchester
4x Reading & Slough
2
1x PMU at Buncrana
1x PMU at Tappaghan 2x PMU at QUB
1x Data Concentrator at QUB
11x PMUs on GB network
2x PMUs on Shetland network
2x PMUs at QUB for development
3x PMU on All-Ireland network
Data concentrator at QUB
Pi Server for remote access / historian
1x PMU at UCD

## Slide 17: What use is it?
Anti-Islanding Detection
(Shutdown generators when grid lost)
Stability with large wind penetrations
(Ireland frequently sees 50% wind generation)
Telecoms delivery technology evaluation
(WiMAX IEEE 802.16)

## Slide 18: Phase variation on Wind Farm feeders
Inishowen, Co. Donegal.
The world’s 41st largest producer of wind power!

## Slide 19
Phase variation on Wind Farm feeders

## Slide 20
Phase variation on Wind Farm feeders

## Slide 21: Phase variation on Wind Farm feeders

## Slide 22: Getting involved….
Build one! Get design drawings, component listings, source code and binaries from:
www.OpenPMU.org
email me: david.laverty@gmail.com